## T2O
DE3000:I.Data[n] |  |  |  | Integers | Size: | 223
n | Value | DE-3000 Register | Bits: | Output Status Bits | Data Type: | INT
0 | Hourmeter | 40002 | 0 | Out 1 | Instance: | 100
1 | Communication Status Register | *** | 1 | Out 2
2 | Status Fault | 40004 | 2 | Out 3
3 | Output Status Bits | 40005 | 3 | Out 4
4 | Fault Status | 40009 | 4 | Reserved
5 | Digital Output Status for Terminal Board 1 | 40020 | 5 | Reserved
6 | Digital Output Status for Terminal Board 2 | 40021 | 6 | Reserved
7 | Channel Value 1 | 40090 | 7 | Reserved
8 | Channel Value 2 | 40091 | 8 | Reserved
9 | Channel Value 3 | 40092 | 9 | Reserved
10 | Channel Value 4 | 40093 | 10 | Reserved
11 | Channel Value 5 | 40094 | 11 | Reserved
12 | Channel Value 6 | 40095 | 12 | Reserved
13 | Channel Value 7 | 40096 | 13 | Reserved
14 | Channel Value 8 | 40097 | 14 | Reserved
15 | Channel Value 9 | 40098 | 15 | Reserved
16 | Channel Value 10 | 40099
17 | Channel Value 11 | 40100
18 | Channel Value 12 | 40101
19 | Channel Value 13 | 40102
20 | Channel Value 14 | 40103
21 | Channel Value 15 | 40104
22 | Channel Value 16 | 40105
23 | Channel Value 17 | 40106
24 | Channel Value 18 | 40107
25 | Channel Value 19 | 40108
26 | Channel Value 20 | 40109
27 | Channel Value 21 | 40110
28 | Channel Value 22 | 40111
29 | Channel Value 23 | 40112
30 | Channel Value 24 | 40113
31 | Channel Value 25 | 40114
32 | Channel Value 26 | 40115
33 | Channel Value 27 | 40116
34 | Channel Value 28 | 40117
35 | Channel Value 29 | 40118
36 | Channel Value 30 | 40119
37 | Channel Value 31 | 40120
38 | Channel Value 32 | 40121
39 | Channel Value 33 | 40122
40 | Channel Value 34 | 40123
41 | Channel Value 35 | 40124
42 | Channel Value 36 | 40125
43 | Channel Value 37 | 40126
44 | Channel Value 38 | 40127
45 | Channel Value 39 | 40128
46 | Channel Value 40 | 40129
47 | Channel Value 41 | 40130
48 | Channel Value 42 | 40131
49 | Channel Value 43 | 40132
50 | Channel Value 44 | 40133
51 | Channel Value 45 | 40134
52 | Channel Value 46 | 40135
53 | Channel Value 47 | 40136
54 | Channel Value 48 | 40137
55 | Channel Value 49 | 40138
56 | Channel Value 50 | 40139
57 | Channel Value 51 | 40140
58 | Channel Value 52 | 40141
59 | Channel Value 53 | 40142
60 | Channel Value 54 | 40143
61 | Channel Value 55 | 40144
62 | Channel Value 56 | 40145
63 | Channel Value 57 | 40146
64 | Channel Value 58 | 40147
65 | Channel Value 59 | 40148
66 | Channel Value 60 | 40149
67 | RPM (S01) | 40250
68 | RPM (S02) | 40251
69 | Analog Output Percent A01 | 40255
70 | Analog Output Percent A02 | 40256
71 | Analog Output Percent A03 | 40257
72 | Analog Output Percent A04 | 40258
73 | Decimal Point Location Channel 1 | 40300
74 | Decimal Point Location Channel 2 | 40301
75 | Decimal Point Location Channel 3 | 40302
76 | Decimal Point Location Channel 4 | 40303
77 | Decimal Point Location Channel 5 | 40304
78 | Decimal Point Location Channel 6 | 40305
79 | Decimal Point Location Channel 7 | 40306
80 | Decimal Point Location Channel 8 | 40307
81 | Decimal Point Location Channel 9 | 40308
82 | Decimal Point Location Channel 10 | 40309
83 | Decimal Point Location Channel 11 | 40310
84 | Decimal Point Location Channel 12 | 40311
85 | Decimal Point Location Channel 13 | 40312
86 | Decimal Point Location Channel 14 | 40313
87 | Decimal Point Location Channel 15 | 40314
88 | Decimal Point Location Channel 16 | 40315
89 | Decimal Point Location Channel 17 | 40316
90 | Decimal Point Location Channel 18 | 40317
91 | Decimal Point Location Channel 19 | 40318
92 | Decimal Point Location Channel 20 | 40319
93 | Decimal Point Location Channel 21 | 40320
94 | Decimal Point Location Channel 22 | 40321
95 | Decimal Point Location Channel 23 | 40322
96 | Decimal Point Location Channel 24 | 40323
97 | Decimal Point Location Channel 25 | 40324
98 | Decimal Point Location Channel 26 | 40325
99 | Decimal Point Location Channel 27 | 40326
100 | Decimal Point Location Channel 28 | 40327
101 | Decimal Point Location Channel 29 | 40328
102 | Decimal Point Location Channel 30 | 40329
103 | Decimal Point Location Channel 31 | 40330
104 | Decimal Point Location Channel 32 | 40331
105 | Decimal Point Location Channel 33 | 40332
106 | Decimal Point Location Channel 34 | 40333
107 | Decimal Point Location Channel 35 | 40334
108 | Decimal Point Location Channel 36 | 40335
109 | Decimal Point Location Channel 37 | 40336
110 | Decimal Point Location Channel 38 | 40337
111 | Decimal Point Location Channel 39 | 40338
112 | Decimal Point Location Channel 40 | 40339
113 | Decimal Point Location Channel 41 | 40340
114 | Decimal Point Location Channel 42 | 40341
115 | Decimal Point Location Channel 43 | 40342
116 | Decimal Point Location Channel 44 | 40343
117 | Decimal Point Location Channel 45 | 40344
118 | Decimal Point Location Channel 46 | 40345
119 | Decimal Point Location Channel 47 | 40346
120 | Decimal Point Location Channel 48 | 40347
121 | Decimal Point Location Channel 49 | 40348
122 | Decimal Point Location Channel 50 | 40349
123 | Decimal Point Location Channel 51 | 40350
124 | Decimal Point Location Channel 52 | 40351
125 | Decimal Point Location Channel 53 | 40352
126 | Decimal Point Location Channel 54 | 40353
127 | Decimal Point Location Channel 55 | 40354
128 | Decimal Point Location Channel 56 | 40355
129 | Decimal Point Location Channel 57 | 40356
130 | Decimal Point Location Channel 58 | 40357
131 | Decimal Point Location Channel 59 | 40358
132 | Decimal Point Location Channel 60 | 40359
133 | Decimal Point Location Channel 61 | 40360
134 | Decimal Point Location Channel 62 | 40361
135 | Decimal Point Location Channel 63 | 40362
136 | Decimal Point Location Channel 64 | 40363
137 | Decimal Point Location Channel 65 | 40364
138 | Decimal Point Location Channel 66 | 40365
139 | Decimal Point Location Channel 67 | 40366
140 | Decimal Point Location Channel 68 | 40367
141 | Decimal Point Location Channel 69 | 40368
142 | Decimal Point Location Channel 70 | 40369
143 | Decimal Point Location Channel 71 | 40370
144 | Decimal Point Location Channel 72 | 40371
145 | Decimal Point Location Channel 73 | 40372
146 | Decimal Point Location Channel 74 | 40373
147 | Decimal Point Location Channel 75 | 40374
148 | Decimal Point Location Channel 76 | 40375
149 | Decimal Point Location Channel 77 | 40376
150 | Decimal Point Location Channel 78 | 40377
151 | Decimal Point Location Channel 79 | 40378
152 | Decimal Point Location Channel 80 | 40379
153 | Decimal Point Location Channel 81 | 40380
154 | Decimal Point Location Channel 82 | 40381
155 | Decimal Point Location Channel 83 | 40382
156 | Decimal Point Location Channel 84 | 40383
157 | Decimal Point Location Channel 85 | 40384
158 | Decimal Point Location Channel 86 | 40385
159 | Decimal Point Location Channel 87 | 40386
160 | Decimal Point Location Channel 88 | 40387
161 | Decimal Point Location Channel 89 | 40388
162 | Decimal Point Location Channel 90 | 40389
163 | Decimal Point Location Channel 91 | 40390
164 | Decimal Point Location Channel 92 | 40391
165 | Decimal Point Location Channel 93 | 40392
166 | Decimal Point Location Channel 94 | 40393
167 | Decimal Point Location Channel 95 | 40394
168 | Decimal Point Location Channel 96 | 40395
169 | Decimal Point Location Channel 97 | 40396
170 | Decimal Point Location Channel 98 | 40397
171 | Decimal Point Location Channel 99 | 40398
172 | Decimal Point Location Channel 100 | 40399
173 | Decimal Point Location Channel 101 | 40400
174 | Decimal Point Location Channel 102 | 40401
175 | Decimal Point Location Channel 103 | 40402
176 | Decimal Point Location Channel 104 | 40403
177 | Decimal Point Location Channel 105 | 40404
178 | Decimal Point Location Channel 106 | 40405
179 | Decimal Point Location Channel 107 | 40406
180 | Decimal Point Location Channel 108 | 40407
181 | Decimal Point Location Channel 109 | 40408
182 | Decimal Point Location Channel 110 | 40409
183 | Decimal Point Location Channel 111 | 40410
184 | Decimal Point Location Channel 112 | 40411
185 | Decimal Point Location Channel 113 | 40412
186 | Decimal Point Location Channel 114 | 40413
187 | Decimal Point Location Channel 115 | 40414
188 | Decimal Point Location Channel 116 | 40415
189 | Decimal Point Location Channel 117 | 40416
190 | Decimal Point Location Channel 118 | 40417
191 | Decimal Point Location Channel 119 | 40418
192 | Decimal Point Location Channel 120 | 40419
193 | Decimal Point Location Channel 121 | 40420
194 | Decimal Point Location Channel 122 | 40421
195 | Decimal Point Location Channel 123 | 40422
196 | Decimal Point Location Channel 124 | 40423
197 | Decimal Point Location Channel 125 | 40424
198 | Decimal Point Location Channel 126 | 40425
199 | Decimal Point Location Channel 127 | 40426
200 | Decimal Point Location Channel 128 | 40427
201 | Decimal Point Location Channel 129 | 40428
202 | Decimal Point Location Channel 130 | 40429
203 | Decimal Point Location Channel 131 | 40430
204 | Decimal Point Location Channel 132 | 40431
205 | Decimal Point Location Channel 133 | 40432
206 | Decimal Point Location Channel 134 | 40433
207 | Decimal Point Location Channel 135 | 40434
208 | Decimal Point Location Channel 136 | 40435
209 | Decimal Point Location Channel 137 | 40436
210 | Decimal Point Location Channel 138 | 40437
211 | Decimal Point Location Channel 139 | 40438
212 | Decimal Point Location Channel 140 | 40439
213 | Decimal Point Location Channel 141 | 40440
214 | Decimal Point Location Channel 142 | 40441
215 | Decimal Point Location Channel 143 | 40442
216 | Decimal Point Location Channel 144 | 40443
217 | Decimal Point Location Channel 145 | 40444
218 | Decimal Point Location Channel 146 | 40445
219 | Decimal Point Location Channel 147 | 40446
220 | Decimal Point Location Channel 148 | 40447
221 | Decimal Point Location Channel 149 | 40448
222 | Decimal Point Location Channel 150 | 40449

## O2T
DE3000:O.Data[n] | [5 empty] | Size: | 1
n | Value | DE-3000 Register | Min | Max | Default | Data Type: | INT
0 | Status Control | *** | -32767 | 32767 | 0 | Instance: | 101